## Hoja1
|  | ITEM | DESCRIPCIÓN | # PARTE | CANTIDAD | FABRICANTE/SERVICIO | PARTIDA ARANCELARIA | UNITARIO | TOTAL | TIEMPO ENTREGA | MAYORISTA / PROVEEDOR
HARDWARE / SOFTWARE / LICENCIAMIENTO | Acceso | 1 | EX2300 48-port 10/100/1000BaseT PoE+, 4 x 1/10G SFP/SFP+ (optics sold separately) | EX2300-48P | 5 | JUNIPER | Equipos Telecom | 1748.1084 | 8740.5419 | 60 días | Ingram Micro Miami
|  | 2 | SFP+, 10GBASE-SR, MMF OM3 300 meters and OM4 400 meters, Standard Temperature (0 through 70 DEGREE C), Duplex LC connector | SFPP-10G-SR-C | 10 | JUNIPER | Partes Equi Telecom | 26.5095 | 265.095 | 60 días | Ingram Micro Miami
|  | 3 | Juniper Care Core Support for EX2300-48P | SVC-COR-EX23-48P | 5 | JUNIPER | Servicio (conv. doble trib.) | 57.9779 | 289.8897 | 15 días | Ingram Micro Miami
| Core-colapsado | 4 | 24x10GbaseX switch with 2x100G uplink ports. MACsec AES256. Airflow out of PSU. Optional module-4x10G or 4x25G | EX4400-24X | 2 | JUNIPER | Equipos Telecom | 6008.4912 | 12016.9824 | 60 días | Ingram Micro Miami
|  | 5 | SFP+, 10GBASE-SR, MMF OM3 300 meters and OM4 400 meters, Standard Temperature (0 through 70 DEGREE C), Duplex LC connector | SFPP-10G-SR-C | 20 | JUNIPER | Partes Equi Telecom | 26.4007 | 528.0141 | 60 días | Ingram Micro Miami
|  | 6 | Juniper Care Core Support for EX4400-24X,EX4400-24X-DC,EX4400-24X-AFI,EX4400-24X-DC-AFI,EX4400-24X-S | SVC-COR-EX44-24X | 2 | JUNIPER | Servicio (conv. doble trib.) | 569.4044 | 1138.8088 | 15 días | Ingram Micro Miami
|  | 7 | Juniper Care Core Support for EX4400-48F,EX4400-48F-DC,EX4400-48F-AFI &#38; EX4400-48F-DC-AFI | SVC-COR-EX4400F48 | 2 | JUNIPER | Servicio (conv. doble trib.) | 441.8529 | 883.7059 | 15 días | Ingram Micro Miami
| Distribución | 7 | 12x10G SFP+, 36x1G SFP port fiber switch with 2x100G uplink/stacking ports. AFI air flow. MACsec AES256 capable (optional license sold separately). Optional extension module(sold separately): 4x10G or 4x25G | EX4400-48F-AFI | 2 | JUNIPER | Equipos Telecom | 5750.8522 | 11501.7045 | 60 días | Ingram Micro Miami
|  | 8 | SFP+, 10GBASE-SR, MMF OM3 300 meters and OM4 400 meters, Standard Temperature (0 through 70 DEGREE C), Duplex LC connector | SFPP-10G-SR-C | 20 | JUNIPER | Partes Equi Telecom | 26.4007 | 528.0141 | 60 días | Ingram Micro Miami
CABLEADO |  | 1 | CABLE UTP 4 PARES 23 AWG CATEGORIA 6 LSZH. ETL / DELTA VERIFIED BOBINA 305m | UTP-CAT6 | 1 | IGMA | Cableado Estructurado | 138 | 138 |  | Cooper Systems
|  | 2 | PATCH CORD UTP CAT6 3FT LSZH SIGMAPLUS | PC-UTP-CAT6 | 2 | SIGMAPLUS | Cableado Estructurado | 2.9 | 5.8 |  | Cooper Systems
|  | 3 | FACE PLATE MODULAR 4P SIGMAPLUS | FP-4P | 10 | SIGMAPLUS | Cableado Estructurado | 5 | 50 |  | Cooper Systems
|  | 4 | FACE PLATE MODULAR 2P SIGMAPLUS | FP-2P | 46 | SIGMAPLUS | Cableado Estructurado | 2 | 92 |  | Cooper Systems
EXTRAS |  | 1 | CANALETA DEXSON 100X45 BLANCO | DXN10011 | 1 | DEXSON |  | 20.44 | 20.44 |  | Cablecom
|  | 2 | SEPARADOR PARA CANALETA 100X45 BLANCO | DXN11018 | 1 | DEXSON |  | 2.91 | 2.91 |  | Cablecom
|  | 3 | ANGULO INTERNO DEXSON 100X45 | DXN11012 | 1 | DEXSON |  | 6.44 | 6.44 |  | Cablecom
|  | 4 | CANALETA DEXSON 60X40 BLANCO | DXN10211 | 1 | DEXSON |  | 10.535 | 10.535 |  | Cablecom
|  | 5 | ANGULO INTERNO DEXSON 60X40 | DXN11012 | 1 | DEXSON |  | 3.045 | 3.045 |  | Cablecom
|  | 6 | GABINETE ABATIBLE DE PARED 19 UR (920x610x510) mm NEGRO, INCLUYE MULTITOMA., ORGANIZADOR, VENTILADOR Y BANDEJA | GAP-19UR | 2 | BEACOUP |  | 434.69 | 869.38 |  | Cooper Systems
|  | 7 | ORGANIZADOR HORIZONTAL CON CANALETA | I-1143 | 2 | BEACOUP |  | 16.88 | 33.76 |  | Cablecom
SERVICIOS CIEMTELCOM | Servicios | 1 | instalación de switch en rack, Ciudad de Quito | SERV-CT | 7 | CT (Network) | Servicio local | 28 | 196
|  | 2 | Configuración switches de acceso basica | SERV-CT | 5 | CT (Network) | Servicio local | 35 | 175
|  | 3 | Configuración Switch Core Basica | SERV-CT | 2 | CT (Network) | Servicio local | 88 | 176
SUBTOTAL | [8 empty] | 37672.0664
12% IVA | [7 empty] | 0.12 | 4520.648
TOTAL | [7 empty] | TOTAL | 42192.7143
Note on I2: Jennifer Maya: Software Hardware Servicio/suscripción